## Property
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Municipality Key | Property Access | Access Winter Light | Address | New Attribute5 | Is Main Property | New Attribute7 | New Attribute8 | New Attribute9 | New Attribute1 | Cadastral Unit Number | Campo 1 | Turbulence Intensity | Max Wind Velocity | Ice Load | Mean Wind Velocity | New Attribute16 | New Attribute17 | Access Winter Ligh (multiple)
SITE/17117 | Property 1 | PRP/00001 |  | ON | Tree-0001 |  |  |  | C/ Falsa, nº19, Villalengua |  | False | True | [5 empty] | 16.36 | 10.23 | 178.87 | 5.115 |  |  | 4 x 4 car
SITE/02095 | Property 2 | PRP/00002 |  | ON | Tree-0001 |  |  |  | C/ Falsa, nº81, Morata de Tajuña |  | True | True | [5 empty] | 19.25 | 11.4 | 258.38 | 5.7 |  |  | Helicopter
SITE/07522 | Property 3 | PRP/00003 |  | OFF | Tree-0002 |  |  |  | C/ Falsa, nº52, Salorino |  | False | True | [5 empty] | 62.24 | 24.93 | 141.72 | 12.465 |  |  | All-tarrain vehicle (ATV)
SITE/02242 | Property 4 | PRP/00004 |  | OFF | Tree-0001 |  |  |  | C/ Falsa, nº8, Andavías |  | False | True | [5 empty] | 37.99 | 17.94 | 37.11 | 8.97 |  |  | Snow groomer
SITE/04438 | Property 5 | PRP/00005 |  | OFF | Tree-0003 |  |  |  | C/ Falsa, nº82, Salceda de Caselas |  | True | True | [5 empty] | 20.29 | 11.81 | 129.31 | 5.905 |  |  | All-tarrain vehicle (ATV)
SITE/07370 | Property 6 | PRP/00006 |  | ON | Tree-0003 |  |  |  | C/ Falsa, nº29, Costur |  | False | True | [5 empty] | 57.54 | 23.66 | 413.47 | 11.83 |  |  | Boat
SITE/19748 | Property 7 | PRP/00007 |  | OFF | Tree-0001 |  |  |  | C/ Falsa, nº2, Chinchón |  | True | True | [5 empty] | 18.94 | 11.28 | 442.15 | 5.64 |  |  | 4 x 4 car
SITE/06084 | Property 8 | PRP/00008 |  | ON | Tree-0001 |  |  |  | C/ Falsa, nº55, Retuerta del Bullaque |  | True | False | [5 empty] | 34.34 | 16.77 | 387.68 | 8.385 |  |  | Snow mobile
SITE/15713 | Property 9 | PRP/00009 |  | OFF | Tree-0002 |  |  |  | C/ Falsa, nº47, Casasola |  | False | False | [5 empty] | 62.28 | 24.94 | 384.03 | 12.47 |  |  | Cable car

## Tower
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Manufacturer | Height
SITE/08705 | Tower 1 | TWR/00001 | PRP/19036 | ON | Tree-0002 |  | 18.59
SITE/07461 | Tower 2 | TWR/00002 | PRP/06859 | ON | Tree-0002 |  | 19.16
SITE/09551 | Tower 3 | TWR/00003 | PRP/13955 | OFF | TREE.TELECOM |  | 16.46
SITE/04371 | Tower 4 | TWR/00004 | PRP/07392 | ON | Tree-0002 |  | 16.01
SITE/01425 | Tower 5 | TWR/00005 | PRP/13277 | ON | TREE.TELECOM |  | 18.65
SITE/14441 | Tower 6 | TWR/00006 | PRP/10569 | ON | Tree-0003 |  | 19.89
SITE/15172 | Tower 7 | TWR/00007 | PRP/11998 | ON | Tree-0003 |  | 19.52
SITE/03052 | Tower 8 | TWR/00008 | PRP/12422 | OFF | Tree-0002 |  | 15.62
SITE/09113 | Tower 9 | TWR/00009 | PRP/01382 | ON | Tree-0001 |  | 18.61
SITE/08431 | Tower 10 | TWR/00010 | PRP/20142 | OFF | Tree-0002 |  | 17.69

## T.S. Ground Support
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Height

## T.S. Self-Radiating Tower
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company

## T.S. Concrete Tower
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Definition | Creation Date | Single List | Email | Multiple List | Numeric Field

## Recuperado_Hoja1
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | New Attribute0

## Antenna
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Manufacturer | Min Frecuency (MHz) | Max Frencuency (MHz) | Polarization | Gain at mid Tilt (dBi) | Model Name | Model Description | Gain over all tilts (dBi) | Horizontal 3dV beam width | Vertical 3dV beam width | Front to back ratio, +-30º, >(dB) | Cross polar ratio >(DB) | Grouding | Cross Polar isolation >= (dB) | List Field 1
SITE/18302 | Antenna 1 | ANT/00001 | TWR/21553 | OFF | TREE.TELECOM |  | 2.2 | 8.79
SITE/03721 | Antenna 2 | ANT/00002 | TWR/30681 | ON | Tree-0001 |  | 3.26 | 13.02
SITE/03382 | Antenna 3 | ANT/00003 | TWR/21832 | OFF | Tree-0001 |  | 3.62 | 14.46
SITE/05123 | Antenna 4 | ANT/00004 | TWR/19990 | ON | Tree-0001 |  | 2.6 | 10.38
SITE/11763 | Antenna 5 | ANT/00005 | TWR/32921 | OFF | TREE.TELECOM |  | 2.94 | 11.77
SITE/09135 | Antenna 6 | ANT/00006 | TWR/25726 | OFF | Tree-0002 |  | 3.08 | 12.33
SITE/19712 | Antenna 7 | ANT/00007 | TWR/25590 | OFF | TREE.TELECOM |  | 2.65 | 10.61
SITE/01423 | Antenna 8 | ANT/00008 | TWR/30112 | ON | Tree-0002 |  | 3.34 | 13.34
SITE/04682 | Antenna 9 | ANT/00009 | TWR/00529 | OFF | Tree-0001 |  | 2.32 | 9.27

## Power Supply
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company

## Office
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Name | Floor | New2

## Office Room
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Room Name | Room List | Room Number

## Building
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Height (m) | Area (m2)
SITE/19422 | Building 1 | BLD/00001 | PRP/00836 | ON | Tree-0001 | 12.61 | 47.84
SITE/04621 | Building 2 | BLD/00002 | PRP/14155 | OFF | Tree-0002 | 9.81 | 44.83
SITE/05792 | Building 3 | BLD/00003 | PRP/06935 | OFF | Tree-0002 | 8.42 | 45.43
SITE/08022 | Building 4 | BLD/00004 | PRP/17762 | OFF | Tree-0002 | 6.35 | 15.98
SITE/14833 | Building 5 | BLD/00005 | PRP/15806 | OFF | Tree-0002 | 17.41 | 21.66
SITE/10122 | Building 6 | BLD/00006 | PRP/06148 | ON | Tree-0002 | 20.24 | 12.68
SITE/17774 | Building 7 | BLD/00007 | PRP/17408 | OFF | Tree-0002 | 5.43 | 31.48
SITE/18821 | Building 8 | BLD/00008 | PRP/10546 | OFF | TREE.TELECOM | 11.02 | 41.15
SITE/16791 | Building 9 | BLD/00009 | PRP/11552 | OFF | Tree-0002 | 11.07 | 58.44

## Floor
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Area (m2)
SITE/16208 | Floor 1 | FLO/000001 | BLD/03649 | OFF | TREE.TELECOM | #N/A
SITE/09078 | Floor 2 | FLO/000002 | BLD/08812 | OFF | Tree-0001 | #N/A
SITE/04035 | Floor 3 | FLO/000003 | BLD/05847 | ON | Tree-0003 | #N/A
SITE/16311 | Floor 4 | FLO/000004 | BLD/03520 | OFF | Tree-0003 | #N/A
SITE/10559 | Floor 5 | FLO/000005 | BLD/07204 | OFF | TREE.TELECOM | #N/A
SITE/08702 | Floor 6 | FLO/000006 | BLD/03379 | ON | Tree-0002 | #N/A
SITE/18219 | Floor 7 | FLO/000007 | BLD/03492 | ON | Tree-0002 | #N/A
SITE/15061 | Floor 8 | FLO/000008 | BLD/06182 | OFF | Tree-0001 | #N/A
SITE/00287 | Floor 9 | FLO/000009 | BLD/00302 | OFF | Tree-0001 | #N/A

## Room
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company | Room Name | Room Type | Room Area
SITE/12177 | Room 1 | ROM/000001 | FLO/010465 | ON | Tree-0001 |  | Office
SITE/00014 | Room 2 | ROM/000002 | FLO/007758 | ON | Tree-0001 |  | Corridor
SITE/00077 | Room 3 | ROM/000003 | FLO/001201 | ON | Tree-0002 |  | Office
SITE/06776 | Room 4 | ROM/000004 | FLO/018768 | OFF | Tree-0001 |  | WC
SITE/09785 | Room 5 | ROM/000005 | FLO/012061 | OFF | Tree-0002 |  | Office
SITE/04118 | Room 6 | ROM/000006 | FLO/000958 | ON | Tree-0002 |  | WC
SITE/12330 | Room 7 | ROM/000007 | FLO/002759 | OFF | Tree-0001 |  | Office
SITE/08040 | Room 8 | ROM/000008 | FLO/009779 | OFF | Tree-0001 |  | Regular room
SITE/03527 | Room 9 | ROM/000009 | FLO/019566 | OFF | Tree-0002 |  | Regular room

## Recuperado_Hoja2
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company

## Recuperado_Hoja3
Code site | Name | Element Code | Parent Element Code | Inventory Operational Status | Company